| S.N. | ACTIVITY | HAZARD | CAUSES OF HAZARD | CONSEQUENCES/ IMPACT | RISK EVALUATION |  | RISK LEVEL | IMPLEMENTED CONTROL MEASURES | RESIDUAL RISK |  |  | ACCEPT Y/N? |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | P | S | H/M/L |  | P | S | H/M/L |  |
| 1 | Delivery and mobilization of equipment on site | Untrained Personnel | Unsafe maneuvering of concrete truck | Fatality, injury and damage to property, accident between trucks | 4 | 4 | 16 | - Ensure all personnel, operators/drivers has HSE orientation/Pre-job meeting - Ensure that the truck roads are to be identified and location of pumps to be marked in the drawings - Trained flag man/ signal man to control vehicle maneuvering - Trespassing of personnel on the route is to be monitored - Reverse alarms for trucks is to be operational while reversing - Unauthorized personnel or other workers are to be restricted from trucks movement path. - Safe distance to be maintained between trucks. | 1 | 4 | 4 | Y |
| 2 | Portable Electrical Equipment operating | Electric Shock | Electrocution Fire | Damage to property Major Injury | 4 | 4 | 16 | - Equipment must be visually inspected before use for signs of damage to cables (worn of frayed) casings, with industrial plugs. - Electric power tools should be regularly inspected and maintained by authorized person. | 1 | 5 | 5 | Y |
| 3 | Coring & Cutting Works | Injury to hearing | Hearing loss | Injury of the person | 3 | 4 | 12 | - Ensure to wear PPE (Ear Muffs & Safety Glass) all the in work. | 1 | 4 | 4 | Y |
| 4 | Diamond Blade/Wire Cutting works | Blast blades/ loss cutting machine | Failure to check the blades, Failure of power supply/ Failure to tighten and check the wire. | Injury of the operator/laborer | 4 | 3 | 12 | - All operators must be provided (Helmet, safety, shoes, hand gloves ect. – All operators have trained certificate to execute concrete cutting & coring works. - Power supply and plugs must be industrial. - Green tag mark on scaffolding where cutting is required. - Barricaded and warning tapes 3-4 meters of cutting & coring location. | 1 | 3 | 3 | Y |
| 5 | Concrete Coring/ Cutting | Respiratory Injury | Inhalation due to dust from coring & cutting | Major Injury | 3 | 3 | 9 | - Ensure to wear PPE face mask & safety glasses all the time in the work. | 1 | 5 | 5 | Y |
| 6 | Wall Cutting | Operators falling | Authorized entry to the exclusion zone | Serious injury to operatives and workers nearby | 3 | 5 | 15 | - Exclusion zone. A manned guard to be placed at the cutting area and instructed of his duties. - The focus is the inside as well as the outside of the cutting area. - All rules apply to both inside as well as outside. | 1 | 5 | 5 | Y |
| 7 | Concrete Coring | Manual Handling | Muscles Strain due to Coring machines handling/ Maneuvering | Injury of the operator/laborer | 3 | 4 | 12 | - Proper Handling and maneuvering technique to be practiced. | 1 | 4 | 4 | Y |

Persons in Danger

- Workers undertaking the works.

- Persons passing the site location/truck routes, e.g. members of the public and persons in the vehicles.

Personal protective equipment

- Safety helmet, Gum boot, proper gloves & Safety goggles.

Information, instruction and training

- All personnel in the team are to be made aware of the safe system of the work.

- Ensure that good housekeeping standard is maintained throughout.

- Training and experience for personnel to use electrical equipments and vibratory equipments

- Educate the personnel to handle chemicals such as concrete.

Emergency procedures

- Site emergency procedures should make provision for the rescue of individuals from heights

- First Aid facilities should be available to cope with any significant injuries that may arise fro mthe work.

Monitoring and review

- Work should be monitors by foreman and charge hands that are trained to ensure that any additional precautions or equipment required are provided.

RISK ASSESSMENT COMMITTEE: 		Project Manager/ Project Engineer

Safety Manager/ Safety Officer

Reviewed by:				(Safety Officer)			Approved by:				(Project Manager)

RISK MATRIX

Risk Rating (RR) – Severity x Likelihood

| LIKELIHOOD (PROBABILITY) (P) SEVERITY (IMPACT) (S) |  | Rare Remote possibility (once every 3 years or more) 1 | Unlikely Could happen but rare (typically once in a year) 2 | Possible Could happen occasionally (on average quarterly) 3 | Likely Could happen often (on average once a month or more) 4 | Almost certain Could happen frequently (once a week or more) 5 |
| --- | --- | --- | --- | --- | --- | --- |
| Insignificant | 1 | Low 1 | Low 2 | Low 3 | Low 4 | Medium 5 |
| Minor | 2 | Low 2 | Low 4 | Medium 6 | Medium 8 | Medium 10 |
| Moderate | 3 | Low 3 | Medium 6 | Medium 9 | Medium 12 | High 15 |
| Significant | 4 | Low 4 | Medium 8 | Medium 12 | High 16 | High 20 |
| Major | 5 | Medium 5 | Medium 10 | High 15 | High 20 | High 25 |

RISK BASED CONTROL PLAN

| RISK LEVEL | ACTION AND TIMESCALE |
| --- | --- |
| 1-4 Low | Quick, easy controls should be implemented immediately and further action planned for when resources permit. Monitoring required ensuring controls are maintained. Manage through routine procedures. Go for economic improvements where possible. Incident report must be completed. |
| 5-12 Medium | Aim to reduce risks but costs of prevention may be limited. Undertake a risk assessment of the situation / task and implement the appropriate actions. Actions should have a timescale and should be monitored. Where the risk involves work in progress undertake a risk assessment as soon as possible to ensure the safety of the situation or task. Work should not start until the risk is reduced to an acceptable level. Considerable resources may have to be allocated. Contact your Manager and Risk Manager by telephone about the actions that should be taken to reduce the risk/s. incident report must be completed. Incident must be added to service risk register. |
| 15-25 High | Do not commence the activity until a risk assessment has been completed to ensure the safety of the situation or task. If it is not possible to reduce or eliminate the risk even with unlimited resources, work must remain prohibited. Inform your relevant Director, your Manager and the Risk Manager immediately by telephone. Incident report must be completed. Incident must be added to service risk register. |