| S. No. | Identify Task Think about the work area each stage of the work to be performed | Identify Hazards Against each stage / item list the hazards that could cause injury / incident when performed | Risk / Consequences | Persons at Risk | Initial Risk Rating |  |  | Risk Control Measures List the control measures required to eliminate or minimize the risk | Residual Risk Score |  |  | Responsible |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | L | I | RR |  | L | I | RR |  |
| 1 | Pre/Post worksite arrangements | - Poor site conditions - Un-authorized personnel - Slip trip and fall - Poor access/egress | - Injury to Operatives - Property Damage | - Operatives - Staff - Visitors | 3 | 3 | 9 | - Obtain valid permit(entry) before the commencement of the activity. - All the personnel involved shall be HSE Inducted - Only authorized and competent operative shall be involved in the activity - Area to be inspected initially and any issues to be highlighted - Shall follow proper instructions from supervisor - Work area shall be barricaded if necessary - Access/egress need to be ensured initially - Proper housekeeping shall be ensured. - Ensure proper PPE shall be follow. | 1 | 3 | 3 | Project Engineer/ HSE/ Site Supervisor |
| 2 | Use of hand tools and during the testing activities | - Improper tools - Damaged or modified tools - Flying particles - Electricity - Electrical Shock - Noise - Vibration - Dust - Rotating Parts Injury | - Injury to Operatives - Property Damage - Electrocution | - Operatives - Staff - Visitors | 4 | 3 | 12 | - Ensure Use of hand tools and its hazards to be discussed in the daily TBM. - Right tool should be used for the job. - Tools must be in good condition. - All the power tools shall be inspected and color-coded prior to the usage. - No damaged tools shall be used and it should be discarded. - No modifications tools are not allowed. - All the hand tools should be inspected prior to its use by the user. - Tools must be double insulated and inspected daily. - Any damage of the tool to be reported to immediate supervisor. - After completion of the job tools shall be stored in the designated storage locations. - Ensure proper PPE shall be followed. - HSSE Guidelines shall be followed where ever applicable | 1 | 3 | 3 | Site Supervisor |
| 3 | Manual handling of materials during the preparation and Maintenance | - Ergonomic issues - Improper posture - Twisting of body - Heavy load - Irregular shape of load - Poor floor conditions (Slip, trip and fall) - Sharp edges - Walkways obstructed - Lack of proper illumination - Musculoskeletal disorders - Hand/Foot Injuries | - Injury to Operatives - Property Damage | - Operatives - Staff - Visitors | 4 | 3 | 12 | - Manual handling- hazards and control measures to be discussed in the TBM - More personnel to be deployed for shifting heavy loads (One person= 20Kg Max) - If possible, to split the heavy loads, then proceed with that - Mechanical aids like wheelbarrow, jack trolley shall be provided - Ensure that the floor condition is good and not slippery - All the personnel involved shall be provided with in-house training for manual handling. - Proper supervision shall be ensured - Sufficient illumination shall be ensured for walkways, entrance and exits - All the walkways, entrances and exit shall be clear without any obstructions. - Ensure Proper use of appropriate PPE | 1 | 3 | 3 | Site Supervisor |
| 4 | Visual inspection of components. | - No proper isolation of power - Electricity - In competent personnel - Slip trip and fall - Exposed cables | - Injury to Operatives - Property Damage | - Operatives - Staff - Visitors | 4 | 3 | 12 | - Ensure that area is declared start prior to the start of the T&C. - Applying work permit, lockout/tag out procedure & isolation if applicable. - All the personnel shall be competent to do the task - Do not wear jewelry or loose clothes during the task - Proper supervision shall be ensured - Proper use of PPE shall be ensured during the activity - Proper Illumination. | 1 | 3 | 3 | Site Supervisor / foreman |
| 5 | Testing and commissioning Operation of Booster pump, Heat Pump & Circulation pump | - Electrocution - Failure of testing. - Slippery floors. - Noise - Short Circuit - Fire | - Injury to Operatives - Property Damage | - Operatives - Staff - Visitors | 4 | 3 | 12 | - Ensure PTW shall be follow (ENERGIZATION & LOTO) - Proper supervision required. - Ensure lockout & tag out procedure if required. - All testing tools must be certified and calibrated. - Barricade with proper signage and safety warning. - Required safety equipment’s to be used in DBs (e.g. Breakers, ELCB). Applying work permit, lockout/tag out procedure & isolation - Pumps connected to the general mass of earth in such a manner as to ensure an immediate safe discharge of electrical energy. - Wear adequate PPE at work. - HSSE Guidelines shall be followed where ever applicable. - Proper handover shifts in place. - Proper illumination at work. | 1 | 3 | 3 | Project Engineer / QA-QC Engineer / Supervisor/ Foreman |
| 6 | Working at Height/ Podium Ladder (nonconductive) | - Falling from height. - Falling objects - Improper use of ladder. - Loose materials. - Fall, slip & trip hazard. - Poor visibility. - Incompetent persons. - Lack of training. - Poor housekeeping. - Not following safe work procedure. | - Serious Injury - Personal Injury - Property damage | - Scaffolders - Workers - Visitors - Supervisors | 4 | 5 | 20 | - PTW system to need to be implemented. - All personnel working 1.8 meters or above to wear Safety Harness and practice 100% Tie off. - Specific training shall be provided. - Strict monitoring and supervision. - Ensure the safety harness inspected and color coded. - All ladders used to be in the fiberglass or nonconductive as per standard. - Ensure area is barricaded where work is conducted at height - Ladder shall be inspected and color coded. - Highest standard of housekeeping to be observed on top of scaffolds - All mandatory PPES to be worn. - HSSE Guidelines shall be followed where ever applicable | 1 | 5 | 5 | Site Engineer / Supervisor / Foreman / Scaffold Inspector |
| 8 | Testing with Multi meter. | - Electric shock - Unauthorized/ untrained - Person - Faulty Instrument, - Improper identification - Electricity | - Injury to Operatives - Property Damage - Fatality | - Operatives - Staff | 4 | 3 | 12 | - Trained person only to do the megger testing. - Ensure testing kit calibrated with third party inspection sticker - Provide project color code. - Proper Supervision. - Provided warning boards and Barricaded. - Ensure adequate PPE shall be worn. - HSSE Guidelines shall be followed where ever applicable | 1 | 3 | 3 | Project Engineer / QA-QC Engineer / Supervisor/ Foreman |
| 9 | Working with Electricity | - Electricity - Conductors - Broken wires - Improper plugs, case overloading | - Injury to Operatives - Property Damage | - Operatives - Staff - Visitors | 4 | 3 | 12 | - Only those persons who have been adequately trained and experienced in the work of electricity to allow for the same. - Electrical work shall not carry out in wet conditions. - Do not overload to the circuits. - Communicate to all personnel about testing and commissioning. - Don’t use homemade electrical accessories and use industrial type. - Disconnect main supply before commencing of work. - Defective tools and equipment should not be used, report it and replaced it immediately. - Temporary power supply shall be taken through standards rated MCBs & RCDs. - Temporary power supply cable shall not have joints. - The working area is maintained dry and clean. - Barricade the location and signage to be placed where circuits and equipment’s are energized. - Maintain proper lighting and clear access route. - PPE should wear at all-time where working in energized circuits. - HSSE Guidelines shall be followed where ever applicable | 1 | 3 | 3 | Project Engineer / Supervisor/ Foreman |
| 11 | Work-at-Night (work at poorly illuminated areas) | - Inadequate illumination / lighting - Poor housekeeping. - Fatigue. | - Slips, trips, and falls. - Collision on stationary objects such as plant and equipment. - Cuts and bruises due to collision on sharp objects. - Collapse of personnel | - Drivers - Workers - Operators - Supervisor - Pedestrians | 3 | 3 | 9 | - Relevant PTW to be obtained prior to night activities. - Night/ Dark area activities shall be carried out with strict monitoring and supervision. - Adequate lighting system as per approved value lux shall be provided on site during all night activities or on dark areas as per procedures. - Proper work rotation to be ensured (workers on day shift shall not be allowed in night shifts). - Proper housekeeping shall be maintained prior to commencement of night activities. - Ensure adequate rest periods for inspection teams and repair technicians. - Ensure that all personnel are well aware of emergency access / egress at site and adequate supervision. - Flash lights / Torches shall be provided on all exit routes. - All relevant PPE must be worn. - HSSE Guidelines shall be followed where ever applicable | 1 | 4 | 4 | Construction Manager / HSE officer / Project engineer / Site Engineer / Supervisor |
| 11 | Access & Egress, Housekeeping | - Slip hazards such as spilt liquids - Material stored on access routes. - Tripping over loose objects on floors, stairs and platforms, trailing cables, damaged or uneven floor surfaces. - Striking against projecting, poorly stacked items or misplaced material. - Cutting, puncturing, or tearing the skin of hands or other parts of the body on projecting nails, wire or steel strapping | - Personnel Injury. - Eye - Hand or facial injury | - Drivers - Workers - Operators - Supervisor - Pedestrians | 4 | 3 | 12 | - Keep work areas tidy, particularly floor areas. - Waste products, containers and materials must be cleared and tidied as work progresses - Do not allow cables to trail across access routes – tie them at high level if possible. - Proper cable management to be done. Arrange all cables overhead with wooden stand. - Clear up spillages as quickly as possible – put temporary barriers up if the spillage makes the floor surface slippery. - Don’t leave materials or equipment on pedestrian routes, staircases or blocking emergency exits. - Make sure access routes are adequately lit – this may require temporary lighting particularly in areas where floor levels change including stairways. - Ensure work area is free (as is practicable) from trailing cables, tools, materials, debris and spills. - Empty containers to dispose OFF separately. - All flammable materials to be removed from the area. - Work area to be inspected before leaving. - All work should be from a suitable and stable work platform - The use of ladders restricted to trained users and must be cleared with supervisor. - HSSE Guidelines shall be followed where ever applicable | 1 | 3 | 3 | Project Engineer / Supervisor / Foreman |
| 12 | Adverse weather condition | - For, Heavy Fog, Rain - Sandstorm, Heavy wind - Constantly working without drinking water, exposed to the sun - Exhaustion, nausea, vomiting, dizziness, headaches, confusion, disorientation, heat stress, Heatstroke/cramp - Heat stroke/heat stress/ muscle cramp - neurological disorders, vascular musculoskeletal | - Injury to Operatives - Property Damage. | - Operatives - Drivers and operators - Staff - Visitors | 4 | 3 | 12 | Hot Weather - Strict monitoring and supervision. - Heat index chart and MOL regulation to be maintained and activities to be stopped when heat index indicates so. - Work-Rest balance to be ensured. - Personnel hydration to be consistently maintained. - Adequate rest and rotation to be implemented. - Activities to be scheduled according to weather conditions. - Weather monitoring chart to be monitored effectively. - Emergency procedures and preparedness to be communicated to all workers. - Additional mechanical ventilation to be provided at all times in work areas. Cold Weather - Personnel body temperature to be monitored. - Winter jackets to be provided if work is to be carried out in extreme cold - weather conditions. - Workers advised to take warm water when necessary. - Strict monitoring of health conditions of workers. - All activities shall be carried out in clear visibility. - If the presence of fog /mist deters visibility, all activities shall be halted until clear visibility is attained. | 1 | 3 | 3 | Project Engineer / Supervisor / Foreman |
| 13 | Emergency preparedness and response | - Fire - Explosion - Electrocution - Earthquake | - Fatality - Delay in evacuation - Property damages | - Technicians - Helpers - Operators - Staff | 4 | 5 | 20 | - Site specific emergency response team to be formed. Trained first aider, fire warden and fire fighter to be available in the ERT team and physically available at site. - Emergency response training shall be conducted. - Emergency contact number shall be communicated with all employees at site. - Provision of adequate first aid, firefighting and spill response provision at site - Mock drill to be conducted. - Do not run, be calm, and walk towards nearest assembly Point during any emergency. - LIFE SAVING RULES to be communicated to everyone in the project. - No smoking policy shall be complied. | 1 | 5 | 5 | Project Manager / HSE LEAD / Project engineer / Site Engineer / Supervisor/ Foreman/ Charge hand |

Note: Risk Assessment will be revived and updated based on site condition.

Follow Observe, Engage and Improve

| Prepared by HSE Engineer - GESCO | Reviewed by project Manager - GESCO | Approved by RMC- Safety/ Construction Manager |
| --- | --- | --- |

Next Review Date:

Risk Assessment

The most common form of risk assessment is to examine a hazard and possible consequences of exposure to that hazard and the likelihood of that particular Impact / consequence eventuating. This risk assessment result is called as risk level.

By using Risk Assessment Matrix to evaluate the quantitative risk analysis where numerical data is used

Impact / Consequences

Likelihood

Likelihood

ihood

|  | Negligible | Minor | Moderate | Major | Catastrophic |
| --- | --- | --- | --- | --- | --- |
| Very Unlikely | 1 | 2 | 3 | 4 | 5 |
| Unlikely | 2 | 4 | 6 | 8 | 10 |
| Possible | 3 | 6 | 9 | 12 | 15 |
| Likely | 4 | 8 | 12 | 16 | 20 |
| Very likely | 5 | 10 | 15 | 20 | 25 |

| Risk Score | What should to do? |
| --- | --- |
| 1-3 Low | Manage through routine procedures |
| 4-6 Moderate Risk | Acceptable but must be managed ALARP. |
| 8-12 High Risk | Unacceptable, Activity procedure should modify required, management responsibility must be specified |
| 15-25 Extreme Risk | Absolutely unacceptable, Immediate action required senior management attention needed |

| IMPACT: How severely could it hurt someone/cause damage? | LIKELIHOOD: How likely is it to happen? |
| --- | --- |
| - Negligible: Negligible injury to staff or visitor. First aid treatment. - Minor: Minor injury or illness, onsite medical treatment. Reportable breach of regulations. Minor fines, regulatory scrutiny. - Moderate: Significant injury to staff or visitor requiring medical treatment. Requiring hospital treatment. - Major: Single fatality or multiple significant injuries. Major injury, long term incapacity or disability requiring medical treatment. - Catastrophic: Multiple fatalities; permanent incapacity / disability of more than 5 people. Event cancellation due to serious criminal activities | - Very Unlikely: May occur only in exceptional circumstances. Extremely unlikely during the project / event. - Unlikely: Could occur at some time Plausible, could occur once during the project / event. - Possible: Might possibly occur at some time Reasonable likelihood to occur once during the project / event. - Likely: Will probably occur in most circumstances High probability, likely to arise a few times during the project / event. - Very Likely-Will almost definitely occur, could occur many times during the project / event. |