# METHOD STATEMENT FOR INSTALLATION OF AIR HANDLING UNITS (AHU) AND FRESH AIR HANDLING UNITS (FAHU)

# 1. DOCUMENT CONTROL

### Project Name

[Insert Project Name]

### Contract No.

[Insert Contract Number]

### Client

[Insert Client Name]

### Consultant

[Insert Consultant Name]

### Main Contractor

[Insert Main Contractor Name]

### MEP Contractor

[Insert Contractor Name]

### Document Title

Method Statement for Installation of Air Handling Units (AHU) and Fresh Air Handling Units (FAHU)

### Revision No.

0

### Date

[Insert Date]

# 2. PURPOSE

The purpose of this Method Statement is to define the procedures, responsibilities, quality requirements, inspection criteria, safety precautions, and installation methodology for the installation of Air Handling Units (AHUs) and Fresh Air Handling Units (FAHUs) within the project.

The objective is to ensure that all AHU and FAHU equipment is installed safely, accurately, and in accordance with approved shop drawings, project specifications, manufacturer recommendations, local authority regulations, and applicable international standards to achieve efficient HVAC system performance and reliable operation.

# 3. SCOPE OF WORK

This method statement covers the supply, delivery, handling, installation, inspection, testing preparation, and handover of:

## Air Handling Units (AHU)

- Horizontal AHUs

- Vertical AHUs

- Draw Through AHUs

- Blow Through AHUs

- Modular AHUs

- Indoor AHUs

- Outdoor AHUs

## Fresh Air Handling Units (FAHU)

- Treated Fresh Air Units

- Dedicated Outdoor Air Systems (DOAS)

- Rooftop FAHUs

- Indoor FAHUs

## Associated Components

- Anti-Vibration Mounts

- Spring Isolators

- Concrete Housekeeping Bases

- Flexible Duct Connections

- Chilled Water Piping Connections

- Condensate Drain Piping

- Electrical Power Connections

- Control Wiring

- BMS Interfaces

- Temperature Sensors

- Differential Pressure Gauges

- Motorized Dampers

- Access Doors

- Acoustic Insulation

## Scope Includes

- Material receiving and inspection

- Equipment handling and storage

- Equipment positioning

- Installation of supports and housekeeping pads

- Installation of AHUs and FAHUs

- Chilled water piping connections

- Drain piping connections

- Ductwork connections

- Electrical and control connections

- Alignment and leveling

- Inspection and testing preparation

- Documentation and handover

# 4. REFERENCES

The works shall comply with:

## International Standards

- ASHRAE Standards

- SMACNA HVAC Duct Construction Standards

- AHRI Standards

- AMCA Standards

- ISO 16813 – Building Environment Design

- IEC Standards for Electrical Installations

- NFPA Requirements

- DW144 Ductwork Specification

- CIBSE Guidelines

- ISO 9001 Quality Management Systems

- ISO 45001 Occupational Health & Safety

## Project Documents

- Approved HVAC Shop Drawings

- Coordinated MEP Drawings

- Equipment Layout Drawings

- Approved Material Submittals

- Manufacturer Installation Manuals

- Inspection and Test Plan (ITP)

- Project Specifications

# 5. DEFINITIONS

### AHU

Air Handling Unit used for conditioning and circulating air as part of HVAC systems.

### FAHU

Fresh Air Handling Unit used to provide treated outdoor ventilation air to occupied spaces.

### Housekeeping Pad

Concrete base supporting HVAC equipment.

### Spring Isolator

Vibration isolation device installed beneath HVAC equipment.

### Flexible Connection

Connection provided to prevent vibration transfer between equipment and ductwork/piping.

# 6. RESPONSIBILITIES

## Project Manager

- Overall responsibility for execution of works.

## Construction Manager

- Coordinate installation activities.

## Mechanical Engineer

- Supervise installation activities.

- Ensure compliance with approved drawings.

## QA/QC Engineer

- Conduct inspections and maintain records.

## HSE Officer

- Monitor safety compliance.

## Mechanical Supervisor

- Direct installation activities.

## HVAC Technicians

- Carry out installation works.

# 7. MATERIALS

## HVAC Equipment

- Air Handling Units

- Fresh Air Handling Units

## Mechanical Accessories

- Spring Isolators

- Neoprene Pads

- Flexible Connectors

- Drain Traps

- Valves

- Strainers

- Thermometers

- Pressure Gauges

## Fasteners and Supports

- Anchor Bolts

- Threaded Rods

- Steel Supports

- Channels

- Brackets

## Electrical Components

- Isolators

- Power Cables

- Control Cables

- BMS Interface Devices

All materials shall be approved prior to installation.

# 8. TOOLS AND EQUIPMENT

### Installation Equipment

- Mobile Crane

- Forklift

- Chain Blocks

- Hydraulic Jacks

- Scissor Lift

- Boom Lift

### Mechanical Tools

- Torque Wrenches

- Alignment Tools

- Spirit Levels

- Laser Levels

- Measuring Tapes

### Electrical Tools

- Multimeter

- Insulation Tester

All equipment shall have valid certification where applicable.

# 9. HEALTH, SAFETY AND ENVIRONMENTAL REQUIREMENTS

## Personal Protective Equipment (PPE)

Personnel shall wear:

- Safety Helmet

- Safety Shoes

- Reflective Vest

- Safety Gloves

- Safety Glasses

Additional PPE:

- Full Body Harness

- Hearing Protection

- Dust Masks

## Safety Requirements

### Lifting Operations

- Approved lifting plans required.

- Certified lifting equipment shall be used.

- Qualified riggers and operators shall perform lifting operations.

### Working at Height

- Approved access equipment shall be utilized.

- Fall protection systems shall be implemented.

### Electrical Safety

- Lockout/Tagout (LOTO) procedures shall be implemented during electrical works.

## Environmental Requirements

- Maintain clean work areas.

- Protect installed equipment from dust and moisture.

- Dispose packaging materials properly.

# 10. PRE-INSTALLATION REQUIREMENTS

Verify:

## Documentation

- Approved shop drawings.

- Equipment submittals approved.

- Method statement approved.

- Inspection and Test Plan approved.

## Site Readiness

Verify:

- Structural works completed.

- Equipment room ready.

- Housekeeping pads completed.

- Access routes available.

- MEP coordination completed.

# 11. MATERIAL RECEIVING AND INSPECTION

### Verify

- Equipment model number.

- Capacity.

- Dimensions.

- Accessories supplied.

- Manufacturer documentation.

Inspect for:

- Shipping damage.

- Corrosion.

- Missing components.

## Storage Requirements

Equipment shall be:

- Stored indoors where possible.

- Protected from weather.

- Kept on pallets or supports.

- Covered with protective sheeting.

# 12. EQUIPMENT HANDLING

### Procedure

- Review manufacturer lifting instructions.

- Verify lifting points.

- Attach certified lifting gear.

- Lift equipment carefully.

- Transport to installation location.

### Precautions

- Avoid sudden movements.

- Protect coils and panels.

- Prevent equipment distortion.

# 13. INSTALLATION OF HOUSEKEEPING PAD

### Procedure

- Verify dimensions.

- Verify elevation.

- Confirm curing completion.

- Mark equipment location.

### Acceptance Criteria

- Correct dimensions.

- Level surface.

- Proper strength achieved.

# 14. INSTALLATION OF VIBRATION ISOLATORS

### Procedure

- Verify isolator type.

- Position isolators as per manufacturer recommendations.

- Check load distribution.

- Secure isolators.

### Acceptance Criteria

- Uniform load distribution.

- Correct deflection achieved.

# 15. POSITIONING OF AHU/FAHU

### Procedure

- Move equipment into position.

- Place on isolators or housekeeping pad.

- Verify clearances.

- Verify maintenance access.

### Acceptance Criteria

- Correct orientation.

- Proper access space maintained.

# 16. LEVELING AND ALIGNMENT

### Procedure

- Check horizontal level.

- Adjust isolators if necessary.

- Verify alignment.

### Tolerance

Maximum deviation shall not exceed manufacturer recommendations.

# 17. CHILLED WATER PIPING CONNECTIONS

### Procedure

- Verify pipe routing.

- Install valves and accessories.

- Connect chilled water supply and return lines.

- Install flexible connectors.

- Support piping independently.

### Verify

- No stress transferred to AHU connections.

- Correct flow direction.

# 18. CONDENSATE DRAIN PIPING INSTALLATION

### Procedure

- Install drain piping.

- Install trap as per manufacturer requirements.

- Maintain slope toward drain point.

### Acceptance Criteria

- Proper drainage achieved.

- No water stagnation.

# 19. DUCTWORK CONNECTIONS

### Procedure

- Verify duct dimensions.

- Install flexible duct connectors.

- Connect supply and return ducts.

- Seal all joints.

### Acceptance Criteria

- Airtight connection.

- No vibration transmission.

# 20. FILTER INSTALLATION

### Procedure

- Inspect filter frames.

- Install filters.

- Verify proper seating.

### Acceptance Criteria

No bypass air permitted around filters.

# 21. ELECTRICAL INSTALLATION

### Procedure

- Install power cables.

- Install isolator switches.

- Connect motor terminals.

- Verify earthing.

### Acceptance Criteria

Comply with electrical specifications and manufacturer requirements.

# 22. CONTROL AND BMS CONNECTIONS

### Procedure

- Install control wiring.

- Connect sensors.

- Connect actuators.

- Interface with BMS system.

### Verify

- Correct addressing.

- Correct sensor locations.

# 23. INSULATION WORKS

### Procedure

- Install insulation on chilled water piping.

- Seal joints.

- Protect insulation finish.

### Acceptance Criteria

No exposed insulation gaps.

# 24. PRE-COMMISSIONING INSPECTION

Verify:

### Mechanical

- Equipment secured.

- Isolators installed.

- Piping completed.

- Duct connections completed.

### Electrical

- Power wiring completed.

- Earthing completed.

### Controls

- Sensors installed.

- BMS connections completed.

# 25. QUALITY CONTROL REQUIREMENTS

## Before Installation

- Material approval verification.

- Equipment inspection.

## During Installation

- Position verification.

- Alignment checks.

- Connection inspections.

## After Installation

- Final inspection.

- Documentation review.

# 26. ACCEPTANCE CRITERIA

Installation shall be accepted when:

- Equipment installed according to approved drawings.

- Correct alignment achieved.

- Piping completed.

- Drainage functioning properly.

- Duct connections completed.

- Electrical and controls connected.

- Consultant approval obtained.

# 27. TOLERANCES

| Item | Tolerance |
| --- | --- |
| Equipment Location | ±10 mm |
| Equipment Level | ±2 mm/m |
| Housekeeping Pad Elevation | ±5 mm |
| Pipe Alignment | ±5 mm |
| Drain Slope | As Design Requirement |

# 28. RISK ASSESSMENT SUMMARY

| Activity | Hazard | Risk | Control Measure |
| --- | --- | --- | --- |
| Lifting Equipment | Falling loads | High | Approved lifting plan |
| Working at Height | Falls | High | Fall protection |
| Equipment Handling | Crushing injuries | High | Proper rigging |
| Electrical Connections | Electric shock | High | LOTO procedures |
| Manual Handling | Back injuries | Medium | Mechanical aids |
| Cutting Activities | Flying particles | Medium | PPE |

# 29. INSPECTION AND TEST PLAN (ITP)

| Activity | Inspection | Responsibility | Consultant Witness |
| --- | --- | --- | --- |
| Material Inspection | Verification | QA/QC | Yes |
| Equipment Positioning | Inspection | QA/QC | Random |
| Vibration Isolators | Inspection | QA/QC | Random |
| Piping Connections | Inspection | QA/QC | Yes |
| Drain Installation | Inspection | QA/QC | Yes |
| Duct Connections | Inspection | QA/QC | Yes |
| Electrical Connections | Inspection | QA/QC | Yes |
| Final Installation Inspection | Approval | Consultant | Yes |

# 30. RECORDS TO BE MAINTAINED

- Material Inspection Reports (MIR)

- Delivery Records

- Equipment Inspection Reports

- Installation Checklists

- Inspection Requests (IR)

- Daily Progress Reports

- Non-Conformance Reports (NCR)

- Corrective Action Reports

- Final Acceptance Records

# 31. ATTACHMENTS

- Approved Shop Drawings

- Equipment Layout Drawings

- Manufacturer Installation Manuals

- Inspection and Test Plan (ITP)

- Risk Assessment (RA)

- QA/QC Checklist

- Installation Checklists

- Material Inspection Reports

- Inspection Requests

- As-Built Drawings

# 32. HOLD POINTS (HP)

### HP-01

Approval of AHU/FAHU materials and equipment.

### HP-02

Inspection of housekeeping pads.

### HP-03

Inspection of vibration isolator installation.

### HP-04

Inspection of piping and ductwork connections.

### HP-05

Inspection of electrical and controls installation.

### HP-06

Pre-commissioning inspection approval.

### HP-07

Final consultant acceptance.

# 33. CONCLUSION

The installation of Air Handling Units (AHU) and Fresh Air Handling Units (FAHU) shall be performed by qualified HVAC personnel using approved materials, certified equipment, and established installation procedures. All works shall comply with project specifications, approved shop drawings, ASHRAE standards, SMACNA requirements, and manufacturer recommendations. Proper attention shall be given to equipment handling, vibration isolation, alignment, chilled water piping, condensate drainage, ductwork connections, electrical interfaces, and quality inspections to ensure a safe, reliable, and efficient HVAC installation ready for testing, commissioning, and long-term operation.

## Recommended Supporting Documents for Consultant Submission

- QA/QC Checklist for AHU & FAHU Installation

- Risk Assessment (RA)

- Inspection & Test Plan (ITP)

- HVAC Equipment Installation Checklist

- Lifting Plan

- Chilled Water Piping Pressure Test Reports

- Duct Leakage Test Reports

- Material Inspection Request (MIR)

- Inspection Request (IR)

- Manufacturer Technical Data Sheets

- O&M Manuals

- As-Built Drawings