# METHOD STATEMENT FOR MARBLE AND GRANITE INSTALLATION WORKS

## 1. DOCUMENT CONTROL

### Project Name

[Insert Project Name]

### Contract No.

[Insert Contract Number]

### Client

[Insert Client Name]

### Consultant

[Insert Consultant Name]

### Main Contractor

[Insert Main Contractor Name]

### Subcontractor

[Insert Stone Works Contractor Name]

### Document Title

Method Statement for Marble and Granite Installation Works

### Revision No.

0

### Date

[Insert Date]

# 2. PURPOSE

The purpose of this method statement is to define the methodology, responsibilities, quality assurance requirements, safety precautions, inspection procedures, and acceptance criteria for the supply, handling, fabrication, installation, finishing, protection, and handover of marble and granite works.

The objective is to ensure that all marble and granite installations are completed in accordance with approved material submittals, shop drawings, project specifications, architectural requirements, manufacturer recommendations, and applicable international standards, resulting in durable, aesthetically pleasing, and defect-free finishes.

# 3. SCOPE OF WORK

This method statement covers marble and granite installation works for:

### Internal Areas

- Floor Finishes

- Wall Cladding

- Staircases

- Stair Landings

- Lift Lobbies

- Corridors

- Reception Areas

- Toilet Areas

- Feature Walls

- Countertops

- Window Sills

- Door Thresholds

### External Areas

- Building Entrances

- External Cladding

- Landscape Paving

- Pedestals

- Plinth Areas

- Podium Decks

- Steps and Staircases

- Walkways

### Architectural Stone Elements

- Columns

- Decorative Profiles

- Skirting

- Copings

- Kerbs

- Benches

- Water Feature Finishes

### Scope Includes

- Material procurement

- Material inspection

- Delivery and storage

- Shop drawing review

- Surface preparation

- Dry laying and mock-up approval

- Marble and granite installation

- Mechanical fixing installation

- Adhesive installation

- Joint treatment

- Grouting

- Polishing

- Sealing

- Cleaning

- Protection

- Final handover

# 4. REFERENCES

The works shall comply with:

- Approved Architectural Drawings

- Approved Shop Drawings

- Approved Material Submittals

- Project Specifications

- Approved Mock-Up Samples

- ASTM C503 – Marble Dimension Stone

- ASTM C615 – Granite Dimension Stone

- ASTM C1528 – Stone Cladding Systems

- ASTM C1242 – Stone Anchoring Systems

- ASTM C880 – Flexural Strength of Stone

- ASTM C97 – Water Absorption Testing

- BS EN 12004 – Tile Adhesives

- BS EN 12002 – Deformable Adhesives

- BS EN 1469 – Natural Stone Cladding

- Marble Institute of America (MIA) Guidelines

- Natural Stone Institute Standards

- ISO 9001 Quality Management System

- Approved Inspection and Test Plan (ITP)

# 5. DEFINITIONS

### Marble

A natural metamorphic stone used for architectural finishes.

### Granite

A natural igneous stone known for high durability and strength.

### Dry Fixing System

Mechanical installation of stone panels using anchors, brackets, kerfs, and fixing systems.

### Wet Fixing System

Installation using cement mortar, adhesive, or bonding agents.

### Stone Cladding

Stone panels installed on walls using mechanical or adhesive fixing systems.

### Mock-Up

A sample installation prepared for consultant approval before mass production.

# 6. RESPONSIBILITIES

## Project Manager

- Overall responsibility for execution.

- Ensure resource availability.

- Coordinate with consultant and client.

## Construction Manager

- Supervise daily installation activities.

- Ensure compliance with approved procedures.

## Site Engineer

- Coordinate installation works.

- Verify compliance with approved drawings.

## QA/QC Engineer

- Conduct inspections.

- Verify quality standards.

- Review material certificates.

## HSE Officer

- Monitor safety compliance.

- Conduct toolbox talks.

- Verify risk control implementation.

## Surveyor

- Verify setting out and levels.

## Stone Installation Supervisor

- Direct installation crews.

- Ensure workmanship quality.

## Skilled Stone Masons

- Perform cutting, installation, polishing, and finishing activities.

# 7. MATERIALS

### Natural Stone Materials

- Marble Slabs

- Marble Tiles

- Granite Slabs

- Granite Tiles

- Engineered Stone (where specified)

### Bedding and Bonding Materials

- Cement Mortar

- Polymer Modified Adhesive

- Epoxy Adhesive

- Stone Bonding Adhesive

### Mechanical Fixing Materials

- Stainless Steel Anchors

- Stainless Steel Brackets

- Stainless Steel Pins

- Kerf Anchors

- Aluminum Support Systems

### Jointing Materials

- Grout

- Silicone Sealant

- Polyurethane Sealant

- Backer Rods

### Protection Materials

- Protective Sheets

- Corner Guards

- Polythene Covers

All materials shall possess approved material submittals and compliance certificates.

# 8. TOOLS AND EQUIPMENT

The following equipment may be used:

- Total Station

- Laser Level

- Marble Cutting Machines

- Bridge Cutting Machines

- Wet Saws

- Grinding Machines

- Polishing Machines

- Hand Polishers

- Vacuum Lifters

- Chain Blocks

- Mobile Scaffolding

- Cranes

- Hoists

- Measuring Instruments

- Rubber Mallets

- Trowels

- Mixing Equipment

All equipment shall possess valid inspection records.

# 9. HEALTH, SAFETY AND ENVIRONMENTAL REQUIREMENTS

## Personal Protective Equipment

Personnel shall wear:

- Safety Helmet

- Safety Shoes

- High Visibility Vest

- Safety Gloves

- Safety Goggles

- Dust Mask/Respirator

- Hearing Protection

## Safety Requirements

- Approved Permit to Work shall be obtained.

- Safe lifting procedures shall be implemented.

- Heavy stone panels shall be lifted using approved lifting equipment.

- Cutting operations shall use wet cutting methods.

- Work-at-height controls shall be implemented.

- Scaffolding shall be inspected before use.

## Environmental Requirements

- Control dust generation.

- Use wet cutting whenever possible.

- Properly dispose stone waste.

- Prevent contamination of finished surfaces.

# 10. PRE-INSTALLATION REQUIREMENTS

Prior to commencement:

### Documentation Verification

Verify availability of:

- Approved shop drawings.

- Approved stone layouts.

- Material approvals.

- Mock-up approvals.

- Method statement.

- Inspection and Test Plan.

### Site Verification

Verify:

- Structural works completed.

- Wall and floor substrates approved.

- Waterproofing completed where required.

- MEP rough-ins completed.

- Access available.

# 11. MATERIAL RECEIVING AND STORAGE

### Material Inspection

Upon delivery verify:

- Stone type.

- Color consistency.

- Finish type.

- Dimensions.

- Thickness.

- Batch numbers.

### Storage Requirements

- Store vertically on A-frames.

- Prevent direct ground contact.

- Protect edges and corners.

- Separate approved and rejected materials.

- Cover materials from weather exposure.

Any cracked, chipped, stained, or damaged stone shall be rejected.

# 12. MOCK-UP INSTALLATION

Prior to production works:

### Prepare Mock-Up

Include:

- Stone panels.

- Joint details.

- Fixing systems.

- Grouting.

- Surface finish.

The approved mock-up shall serve as the quality benchmark for the project.

# 13. SURVEY AND SETTING OUT

### Procedure

- Verify control points.

- Establish datum levels.

- Mark reference lines.

- Verify dimensions.

- Mark panel layout.

- Confirm joint locations.

Survey records shall be maintained.

# 14. SUBSTRATE INSPECTION

Before installation verify:

### Floors

- Surface levelness.

- Surface cleanliness.

- Structural integrity.

- Moisture content.

### Walls

- Verticality.

- Surface condition.

- Fixing supports installed.

Deficiencies shall be rectified before installation.

# 15. SURFACE PREPARATION

### Floor Installation

- Remove dust and debris.

- Repair defects.

- Verify levels.

- Apply bonding agent where specified.

### Wall Installation

- Clean substrate.

- Verify support system.

- Install brackets and anchors where required.

# 16. DRY LAYOUT OF STONE PANELS

Before fixing:

- Arrange stone panels.

- Verify pattern matching.

- Verify color consistency.

- Verify veining direction.

- Obtain approval.

Stone sequence shall follow approved shop drawings.

# 17. MARBLE AND GRANITE FLOOR INSTALLATION

## Wet Mortar Method

### Procedure

- Prepare bedding mortar.

- Apply mortar bed.

- Position stone carefully.

- Check level and alignment.

- Tap gently using rubber mallet.

- Maintain joint widths.

- Remove excess mortar.

## Adhesive Fixing Method

### Procedure

- Apply approved adhesive.

- Comb adhesive using notched trowel.

- Position stone panel.

- Apply pressure evenly.

- Verify level and alignment.

### Installation Requirements

- Joint width shall comply with approved drawings.

- Lippage shall be minimized.

- Continuous alignment shall be maintained.

# 18. MARBLE AND GRANITE WALL INSTALLATION

## Mechanical Fixing System

### Procedure

- Install brackets and anchors.

- Verify fixing locations.

- Lift stone panels safely.

- Secure panels using anchors.

- Check plumbness.

- Verify joint alignment.

## Adhesive Fixing System

### Procedure

- Apply approved adhesive.

- Position stone panel.

- Use temporary supports.

- Verify alignment.

- Allow curing.

Mechanical fixing shall be used where specified by design.

# 19. STAIRCASE INSTALLATION

### Procedure

- Install risers first.

- Install treads.

- Verify nosing alignment.

- Maintain uniform dimensions.

- Install skirting where specified.

Finished staircases shall provide consistent appearance and dimensions.

# 20. COUNTERTOP INSTALLATION

### Procedure

- Verify supporting structure.

- Position stone slab.

- Secure using approved adhesive.

- Install supports where required.

- Seal joints.

Cut-outs shall be accurately fabricated for sinks and fixtures.

# 21. JOINTING AND GROUTING

### Procedure

- Clean joints thoroughly.

- Apply approved grout.

- Remove excess grout.

- Finish joint surface.

Expansion joints shall be maintained according to approved drawings.

# 22. SEALANT APPLICATION

Where required:

- Install backer rod.

- Apply primer.

- Apply approved sealant.

- Tool sealant smoothly.

Sealants shall be compatible with natural stone.

# 23. POLISHING AND FINISHING

### Procedure

- Inspect installation.

- Remove stains.

- Perform grinding if necessary.

- Polish surface.

- Achieve specified finish.

Finish types may include:

- Polished

- Honed

- Flamed

- Bush Hammered

- Leather Finish

# 24. STONE SEALING

### Procedure

- Clean surface.

- Apply approved penetrating sealer.

- Allow curing.

- Remove excess material.

Sealing shall be completed before handover.

# 25. QUALITY CONTROL REQUIREMENTS

## Before Installation

Verify:

- Material approvals.

- Mock-up approval.

- Substrate approval.

## During Installation

Verify:

- Alignment.

- Joint width.

- Stone quality.

- Fixing integrity.

## After Installation

Verify:

- Surface finish.

- Color consistency.

- Joint quality.

- Polishing quality.

# 26. INSPECTION AND TESTING REQUIREMENTS

### Material Inspection

Verify:

- Dimensions.

- Thickness.

- Finish.

- Color.

### Installation Inspection

Verify:

- Levelness.

- Alignment.

- Plumbness.

- Joint consistency.

### Mechanical Fixing Inspection

Verify:

- Anchor locations.

- Fixing integrity.

- Tightness.

# 27. PROTECTION OF COMPLETED WORKS

After installation:

- Cover finished surfaces.

- Protect corners and edges.

- Restrict heavy traffic.

- Prevent contamination.

Protection shall remain until practical completion.

# 28. ACCEPTANCE CRITERIA

The marble and granite works shall be accepted when:

- Approved materials are used.

- Installation complies with approved drawings.

- Joint alignment is consistent.

- No cracks or chips exist.

- Surface finish is approved.

- Lippage is within tolerance.

- Consultant approval is obtained.

# 29. TOLERANCES

| Item | Tolerance |
| --- | --- |
| Floor Level Variation | ±3 mm in 3 m |
| Wall Plumbness | ±3 mm in 3 m |
| Joint Width Variation | ±1 mm |
| Stone Thickness Variation | As per approved material |
| Lippage Between Adjacent Panels | Maximum 1 mm |
| Alignment Variation | ±2 mm |

Or as specified in project specifications.

# 30. RISK ASSESSMENT SUMMARY

| Activity | Hazard | Risk | Control Measure |
| --- | --- | --- | --- |
| Stone Handling | Crush injuries | High | Mechanical lifting equipment |
| Cutting Operations | Flying particles | Medium | Goggles and guards |
| Dust Generation | Respiratory hazards | Medium | Wet cutting and masks |
| Wall Installation | Falling materials | High | Secured lifting and exclusion zones |
| Work at Height | Falls | High | Harnesses and edge protection |
| Polishing Operations | Electrical hazards | Medium | Inspected equipment |

# 31. INSPECTION AND TEST PLAN (ITP)

| Activity | Inspection | Responsibility | Consultant Witness |
| --- | --- | --- | --- |
| Material Inspection | Verification | QA/QC | Yes |
| Mock-Up Inspection | Approval | Consultant | Yes |
| Substrate Inspection | Verification | QA/QC | Yes |
| Stone Installation | Inspection | QA/QC | Yes |
| Mechanical Fixings | Inspection | QA/QC | Yes |
| Grouting and Sealant | Inspection | QA/QC | Random |
| Final Finishing | Inspection | QA/QC | Yes |
| Final Acceptance | Approval | Consultant | Yes |

# 32. RECORDS TO BE MAINTAINED

The following records shall be maintained:

- Material Approval Records

- Material Delivery Notes

- Stone Inspection Reports

- Mock-Up Approval Records

- Installation Inspection Reports

- Anchor Installation Records

- Grouting Records

- Sealant Records

- Daily Progress Reports

- Inspection Requests

- Consultant Approval Records

# 33. ATTACHMENTS

The following documents shall accompany the submission:

- Approved Architectural Drawings

- Stone Shop Drawings

- Material Submittals

- Stone Test Certificates

- Anchor System Calculations

- Inspection and Test Plan (ITP)

- Risk Assessment (RA)

- QA/QC Checklist

- Mock-Up Approval Record

- Manufacturer Data Sheets

- Survey Reports

- Material Warranty Certificates

# 34. CONCLUSION

The marble and granite installation works shall be executed by qualified personnel using approved materials, specialized equipment, and installation techniques in accordance with approved drawings, project specifications, manufacturer recommendations, and applicable international standards. Continuous quality control inspections, mock-up approvals, testing, safety monitoring, and consultant approvals shall be maintained throughout the execution of the works to ensure a high-quality, durable, aesthetically superior, and defect-free finished product that meets all architectural and functional requirements of the project.